## Slide 1: FPA-CS: Focal plane array-based compressive imaging for short-wave infrared
Supplementary material

## Slide 2: Overview

## Slide 3: Motivation
high-res SWIR sensors are expensive
Temporal Resolution
Spatial Resolution
DMD
Photo-diode
$1K
100 kHz
4 kHz
1x1
64x64
1024x1024
256x256
Hamamatsu
64x64
~$2K
FLIR 0.8MP
$20K+
UTC 1MP
$60K+
Cost in USD
Spatio-Temporal Resolution
SPC
1 megapixel at 0.32 fps
1k
high-res SWIR sensor
1 megapixel at 30 fps
100k
FPA-CS
1 megapixel at 30 fps
medium-res SWIR sensor
0.25 megapixel at 30 fps
10k

## Slide 4: Single-pixel vs Focal-plane vs Direct sensing
=
Scene pixels
Sensor pixels
Direct sensing
measurements
Block 1
Block 2
Block 3
Block 4
=
Focal-plane array compressive sensing
Single-pixel compressive sensing
=
Scene pixels
High temporal resolution
High spatial resolution
Notes: Single-pixel camera: high temporal resolution, low spatial resolution
Focal-plane array: moderate temporal and spatial resolution
Direct sensing: low temporal resolution, high spatial resolution

## Slide 5: FPA-CS Design
DMD
SWIR Image Sensor
64 X 64 pixels
Objective Lens
Relay Lens Pair
Scene
DMD Pattern
1140 X 912 pixels
Light from -12 degree mirrors is wasted.
Light from +12 degree mirrors is re-focussed on sensor.
SWIR Main Lens
Field Lens
Relay Lens
DMD
Re-imaging Lens
SWIR FPA Sensor
Schematic of FPA-CS architecture
Picture of the FPA-CS prototype

## Slide 6: SWIR Experiments
Resolution chart

## Slide 7: SWIR Applications
Image of a scene with text underneath crayon paint and a bottle half-filled with water
Text and water are invisible in visible light, but visible in SWIR images

## Slide 8: SWIR Hand Video
T = 22, α = 11.6, frame rate = 21.8 fps

## Slide 9: SWIR Hand Video
T = 16, α = 16, frame rate = 32 fps